The friction head losses are calculated for PVC pipes Schedule 40 with the Hazen-Williams equation.

Equation: P=Q*H*e/k ,    Where P is in kilowatts (kW), H is in feet (ft), e is efficiency and if:

| # Q is measured in | k is |
| --- | --- |
| Ft3 / min | 708 ft4/(min*kW) |
| ft3 / sec | 11.8 ft4/(s*kW) |
| l / sec | 334 l*ft/(s*kW) |
| GPM | 5310 gal*ft/(min*kW) |